## Pollibetta
CHAMUNDESHWARI ELECTRICITY SUPPLY CORPORATION LIMITED | [7 empty] | 1
Estimate No: Date:
Estimate for Replacement of |  | Damaged poles at Various Locations of F-5 Pollibetta
feeder comes under O&M Section Pollibetta,Virajpet Sub Division.
Sl No | PARTICULARS | UNIT | QTY | RATE | AMOUNT | LABOUR CHARGES
[6 empty] | RATE | AMOUNT
1 | Rcc pole 9 mtr long | Nos | 0 | 7153 | 0 | 1341 | 0
2 | Rcc pole 8 mtr long | Nos | 0 | 4276 | 0 | 1341 | 0
3 | Psc pole 9 mtr long | Nos | 11 | 5306 | 58366 | 1072 | 11792
4 | Psc pole 8 mtr long | Nos | 0 | 3578 | 0 | 1072 | 0
5 | 11KV horrizontal X-arm complete | Set | 0 | 668 | 0 | 122 | 0
6 | 2 Pin X-arm complete | Set | 0 | 238 | 0 | 112 | 0
7 | 4 pin X - arm complete set | Set | 0 | 439 | 0 | 112 | 0
8 | 11KV Pin insulator | Nos | 0 | 221 | 0 | 0 | 0
9 | 45kn Disc insulator | Nos | 0 | 202 | 0 | 0 | 0
10 | No 8 Strain Insulator | Nos | 0 | 25 | 0 | 0 | 0
11 | 1.1 KV Pin Insulator | Nos | 0 | 65 | 0 | 0 | 0
12 | Rabbit conductor | Kms | 0 | 61515 | 0 | 3299 | 0
13 | Conductor accessories @ 3% |  |  |  | 0 |  | 0
14 | Distribution Transformer Oil(Reclaimed) | Ltrs |  | 30352 | 0 | 1200 | 0
15 | Guy sets complete | Set | 0 | 1209 | 0 | 448 | 0
16 | Guy/GI Wire | Kgs | 0 | 63 | 0 | 0 | 0
17 | Bolt & Nuts 3*5/8 | Kgs | 0 | 70 | 0 | 0 | 0
18 | Spiral earth eletrode | Nos | 0 | 248 | 0 | 70 | 0
19 | Head loading of poles(for above 25 Mtrs) | Kms | 0 | 0 | 0 | 70 | 0
20 | Loading and unloading of 9Mtrs poles | Nos | 11 | 0 | 0 | 106 | 1166
21 | Loading and unloading of 8 Mtrs poles | Nos | 0 | 0 | 0 | 79 | 0
22 | Releasing and refixing of 4 Pin Cross arm | Set | 0 | 0 | 0 | 112 | 0
23 | Releasing and restriging of Rabbit Condr | Kms | 0 | 0 | 0 | 3299 | 0
24 | Releasing and restriging of No 2 ACSR Condr | Kms | 0 | 0 | 0 | 2104 | 0
25 | Cutting of trees Fallen on the line | Kms | 0 | 0 | 0 | 3881 | 0
26 | Strenthening of Bent 9m poles+LC*75% | Nos | 0 | 0 | 0 | 1341 | 0
27 | Misc & unforeseen |  |  |  | 0 | 0 | 0
| TOTAL |  |  |  | 58400 |  | 13000
30 | Labour charges (a) Casual |  |  |  | 13000
31 | © MZ Charges @45% |  |  |  | 5850
32 | Speedy Restoration of power supply due to breakdown charges @25% of Total Labour charges |  |  |  | 4712.5
33 | Contribution towards Employees Provident Fund Charges & ESI @16.25% total Labour Charges |  |  |  | 3063.125
34 | Transportation from stores to site @ 2% on material cost |  |  |  | 1168
35 | Contingencies @ 2% on total (Material /Labour cost & MZ |  |  |  | 1545
36 | Employees cost @ 20% on total Labour charges |  |  |  | 3770
37 | Statutory charges as per actuals(Electrical Inspectorate charges, civic body charges etc.) |  |  |  | 0
38 | Compensation cost for tree cutting etc: as per approved norms |  |  |  | 0
39 | GST @18% on Total labour Charges & other over head charges |  |  |  | 5959.5525
| Total |  |  |  | 97468.1775
CERTIFICTE:
Certified that I have personally Inspected the spot and prepared this estimate in a most economical
and safe way executing the work
Junior Engineer(EI)
O&M Section
Pollibetta

## Report
Report | [21 empty] | 1
This Estimate amounting to Rs ………………………./- only has been prepared for Replacement of Damaged poles to Primary and secondary lines of F-5 Pollibetta feeders comes under O&M Section Pollibetta, Virajpet Sub Division.
In this estimate it is proposed to Replace damaged poles in the existing primary and Secondary lines . Due to heavy rain and wind the said poles been damaged as on the mentioned date,to restore the power supply to the effected consumers it is required for replacement. Necessary provision are made for the various types of Cross Arms, Insulators etc.
The location wise materials list for the above work has been shown below . All the necessary provision has been made in this estimate, hence the estimate may kindly be sanctioned early.
Statement showing the details of damaged poles in Pollibetta Section Limits comes under O&M Sub-division,Virajpet
Sl No | Location | RCC Poles |  | PSC Poles |  | Cross Arms |  |  |  | 11 KV Insulators |  |  | LT Insulators |  | Conductor |  | Other Materials |  | Lattitude | Longtitude | Remarks Damaged on
|  | 9M | 8M | 9M | 8M | Sp 3 Pin | Hzntl | 2 Pin | 4 Pin | 45 KN Disc | Pin | 15 KV Strain | No 8 Strain | 1.1 KV Pin | Rabbit | No2 ACSR | Guy Set | SEE
1 | Prakash Chennangi | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.2743 | 75.9371
2 | Prakash Chennangi | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.2774 | 75.9367
3 | AnanthRam Estate | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.2542 | 75.9396
4 | Beech Land Esate | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.2538 | 75.9385
Total |  | 0 | 0 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Certified that I have personally Inspected the spot and prepared this estimate in a most economical and safe way executing the work
Certified that I have personally Inspected the spot and got prepared this estimate in a most economical and safe way executing the work
Junior Engineer(EI)
O&M Section,Pollibetta
Asst Executive Engineer(EI)
O&M Sub Division Virajpet