## JUL-21
CHAMUNDESWARI ELECTRICITY SUPPLY CORPORATION LIMITED
Estimate No: 2022-23/JKMR-308/22-08-2022- 314512223042
Estimate for replacement of faulty/Burnt/ MNR Meters in O&M-Bilikere section, Bilikere sub division & Hunsur Divn.
Sl No | Particulars of Equipments | Unit | Qty | Price/ Unit | Amount | Price/ Unit | Amount
|  |  |  | Material |  | Labor
1 | LT Single Phase 5-30 Amps, DLMS Complaint Static Energy Meter, 1.0 Accuracy Class Item Code: 357006 | NO | 11 | 934 | 10274 | 205.48
| Total Cost |  |  |  | 10684.96
CERTIFICATE:-
Certified that I have personally visited the spot and prepared this estimate using current schedule of rates in the most economical and safe way of executing the work.
REPORT
This estimate is prepared for Rs.10684.96 Only for replacement of faulty/Burnt/ MNR/ Meters for the month in O&M-Bilikere section, Bilikere sub division & Hunsur Divn.The meters will be replaced by ME staff..
De-Commissioning
Materials to be return to store
Sl No | Particulars of Equipments | Unit | Qty | Status
1 | LT Single Phase Meters | NO | 11 | Scrap
| C/S |  |  | Submitted
| Asst. Executive Engineer (Ele.,) |  |  | Assistant Engineer (Ele)
| CESC, O&M Sub-division, |  |  | CESC, O&M
| Bilikere. |  |  | Bilikere

## bol
CHAMUNDESWARI ELECTRICITY SUPPLY CORPORATION LIMITED
Estimate No: 2022-23/BM396/22-08-2022/ 314532223049
Estimate for replacement of faulty/Burnt/ MNR/ for the month of Aug-2022 in O&M-Bolanahalli section, Bilikere sub division & Hunsur Divn.
Sl No | Particulars of Equipments | Unit | Qty | Price/ Unit | Amount | Price/ Unit | Amount
|  |  |  | Material |  | Labor
1 | LT Single Phase 5-30 Amps, DLMS Complaint Static Energy Meter, 1.0 Accuracy Class Item Code: 357015 | NO | 15 | 934 | 14010 |  | 560.4
| Total Cost |  |  |  | 14570.4
CERTIFICATE:-
Certified that I have personally visited the spot and prepared this estimate using current schedule of rates in the most economical and safe way of executing the work.
REPORT
This estimate is prepared for Rs.14570.40 Only for replacement of faulty/Burnt/ MNR Meters for the month in O&M-Bolanahlalli section, Bilikere sub division & Hunsur Divn.The meters will be replaced by ME staff..
De-Commissioning
Sl No | Particulars of Equipments | Unit | Qty | Rate | Amount | Price/ Unit | Amount
1 | LT Single Phase Meters | NO | 15 | 0 | 0 | 0
Materials to be return to store
Sl No | Particulars of Equipments | Unit | Qty | Status
1 | LT Single Phase Meters | NO | 15 | Scrap
| C/S |  |  | Submitted
| Asst. Executive Engineer (Ele.,) |  |  | Junior Engineer (Ele)
| CESC, O&M Sub-division, |  |  | CESC, O&M
| Bilikere. |  |  | Bilikere

## GADDIGE
CHAMUNDESWARI ELECTRICITY SUPPLY CORPORATION LIMITED
Estimate No: 2021-22/JKRA-
Estimate for replacement of faulty/Burnt/ MNRl Meters in O&M GADDIGE section, Bilikere sub division & Hunsur Divn.
Sl No | Particulars of Equipments | Unit | Qty | Price/ Unit | Amount | Price/ Unit | Amount
|  |  |  | Material |  | Labor
1 | LT Single Phase 5-30 Amps, DLMS Complaint Static Energy Meter, 1.0 Accuracy Class Item Code: 357015 | NO | 10 | 934 | 9340 | Work Carried out by ME Staff
| Total Cost |  |  |  | 9340
CERTIFICATE:-
Certified that I have personally visited the spot and prepared this estimate using current schedule of rates in the most economical and safe way of executing the work.
REPORT
This estimate is prepared for Rs.934000 Only for replacement of faulty/Burnt/ MNR Meters for the month in O&M-GADDIGE section, Bilikere sub division & Hunsur Divn.The meters will be replaced by ME staff..
De-Commissioning
Sl No | Particulars of Equipments | Unit | Qty | Rate | Amount | Price/ Unit | Amount
1 | LT Single Phase Meters | NO | 10 | 0 | 0 | Work Carried out by ME Staff
Materials to be return to store
Sl No | Particulars of Equipments | Unit | Qty | Status
1 | LT Single Phase Meters | NO | 10 | Scrap
| C/S |  |  | Submitted
| Asst. Executive Engineer (Ele.,) |  |  | Junior Engineer (Ele)
| CESC, O&M Sub-division, |  |  | CESC, O&M
| Bilikere. |  |  | Gaddige