## A
CHAMUNDESHWARI ELECTRICITY SUPPLY CORPORATION LTD,.
O&M SECTION & SUB-DIVISION, BILIKERE
Estimate No:JKMR/2019-20/ |  |  |  | Date:
Est No: 2022-23/JKMR
AUTO GENERATE ESTIMATE NO:
Estimate for replacement of 8M PSC Broken poles due to Rain and Wind: 07-05-2022 in Mudalakoppalu Village_Kempegowda TC (141215-63kVA), Halebeedu Panchayath in Bilikere Section & Bilikere Sub-Division.
Sl. No | Particulars | Unit | Qty | Rate | Amount | L/C Rate | L/C Amount
|  |  |  | Rs. Ps. | Rs. Ps. | Rs. Ps. | Rs. Ps.
1 | 9 mtr Long RCC Pole | No | 0 | 7153 | 0 | 1341 | 0
2 | 9 mtr long PSC Pole | No | 0 | 4276 | 0 | 1341 | 0 | 74.5107
3 | Loading and Un-loading of poles: 106X2=212.00 | No.s | 0 |  |  | 212 | 0
4 | Straightning of Slanted poles-75% of the labor | Nos. | 0 |  |  | 1005.75 | 0
5 | Horizontal X - arm With HT ST Support-PSC | Set | 0 | 664 | 0 | 122 | 0
6 | Horizontal X - arm With HT ST Support-RCC | Set | 0 | 671 | 0 | 122 | 0
7 | Releasing and Re-fixing of Horizontal X - arm With HT ST Support-PSC | Set | 0 |  |  | 231.8 | 0
8 | 11 KV, 5KN Polymeric Pin Insulator (24mm Dia FRP Rod) | No | 0 | 221 | 0
9 | 11KV 45 KN Polymeric Insulator | No | 0 | 202 | 0
10 | Spiral Earth Electrode | No.s | 0 | 248 | 0 | 61 | 0
11 | Guy Set | Set | 0 | 1209 | 0 | 448 | 0
12 | R&R of Guy Set | Set | 0 |  |  | 851.2 | 0
13 | Rabbit Conductor | Kms | 0 | 61515 | 0 | 3299 | 0
14 | R&R of Rabbit Conductor | Kms | 0 |  |  | 6268.1 | 0
15 | Stringing of Conductor-1Rabbit- Halebbedu & Ayarahalli | Kms | 0 |  |  | 3299 | 0
16 | R&R of DOLO | Set | 0 |  |  | 338.2 | 0
LT LINE
1 | 8 mtr Long RCC Pole | Nos. | 0 | 5306 | 0 | 1072 | 0
2 | 8 mtr long PSC Pole | Nos. | 3 | 3578 | 10734 | 1072 | 3216
3 | Loading and Un-loading of poles: 79X2=158.00 | Nos. | 3 |  |  | 158 | 474
4 | Straightning of Slanted poles-75% of the labor | Nos. | 0 |  |  | 804 | 0
5 | Releasing and Re-erection of Cross -arms LT | Nos. | 3 |  |  | 231.8 | 695.4
6 | 4 Pin -LT Cross Arms-RCC | No.s | 0 | 442 | 0 | 122 | 0
7 | 4 Pin -LT Cross Arms-PSC | No.s | 0 | 435 | 0 | 122 | 0
8 | No 8 Strain Insulator | No.s | 0 | 25 | 0
9 | 1.1kV Pin Insulator | No.s | 0 | 65 | 0
10 | Releasing and Re-stringing of Conductor-weasel/Squirrel | Kms | 0 |  |  | 4598 | 0
11 | Tightning of conductor | Kms | 0.6496 |  |  | 2178 | 2688.1747
11 | Weasel Conductor | Kms | 0.02 | 37018 | 740.36 | 2420 | 48.4
12 | Guy Set | Set | 0 | 1209 | 0 | 448 | 0
13 | R&R of Guy Set | Set | 0 |  |  | 851.2 | 0
14 | Restirng of Service main | No.s | 0 |  |  | 75 | 0
[5 empty] | 11474.36 |  | 7121.9747
1 | Materials Cost |  |  |  | 11474.36
2 | Labour Charges |  |  |  | 7121.9747
3 | Special Locality Allowance @ 30% on labour charges on Sl. No. b above |  |  |  | 2136.5924
4 | Head load charges(if applicable) |  |  |  | 0
5 | Total Labour Charges=2+3+4 |  |  |  | 9258.5671
6 | Break Down Charges at 25% on labour for speedy restoration of power on Sl. No. 5 as above. (To be incorporated after competent approval). |  | In case of admissibility of 6/7/8 any one of the charges is admissible on 5 |  | 0
7 | Goods and Service Tax @ 18% on Total labour charges |  |  |  | 1666.5421
8 | Contribution towards employees provident fund charge @ 13.00% & ESI @ 4.75% on Total labour charges (b and c) |  |  |  | 1643.3957
9 | **Transportation cost from stores to site (2% on material Sl No: a) |  |  |  | 229.4872
10 | % *Contingencies @ 2% on Total material & labour |  |  |  | 189.7611
11 | ESCOM Establishment cost @ 20% on labour charges as applicable |  |  |  | 1851.7134
12 | Statutory charges as per actual (Inspectorate charges, civic body charges etc.,) |  |  |  | 0
13 | Compensation cost for tree cutting etc., as per approved norms |  |  |  | 0
14 | Any other charges if applicable |  |  |  | 0
15 | Total Cost of Estimate in Rs. |  |  |  | 26314 |  |  | 5160.5073 | 31474.5073
| Asst. Executive Engineer (Elec.), |  |  |  |  | Asst Engineer(Elec.),
| O&M Sub-Division |  |  |  |  | O&M Section
| Bilikere |  |  |  |  | Bilikere

## DE-COMM
CHAMUNDESHWARI ELECTRICITY SUPPLY CORPORATION LIMITED
Est No:
Estimate for replacement of 8M PSC Broken poles due to Rain and Wind: 07-05-2022 in Mudalakoppalu Village_Kempegowda TC (141215-63kVA), Halebeedu Panchayath in Bilikere Section & Bilikere Sub-Division. | [7 empty] | Estimate for Shifting of 5No.s of LT poles due to road widening work in favor of PDO, Chikkabeechanahalli at Yalachawadi village in O&M Bilikere Section, Bilikere Sub-Division. Under Self Execution Work- DE-COMMISSIONING PORTION
De-Commission Portion: PART-D
SNo | Material | Unit | Qty | Rate | Amount | Labour | Total Labour Amount
1 | Releasing of 9Mtr RCC/PCC/PSC poles | No.s | 0 |  |  | 1044 | 0 | 2 Cross
2 | Releasing of 8Mtr RCC/PCC/PSC poles | No.s | 3 |  |  | 838.8 | 2516.4 | 1160 | 2320
3 | Releasing of DP Set- excluding Poles | Set | 0 |  |  | 1132.2 | 0 |  | 3578
4 | Releasing of Cross arms | Nos. | 0 |  |  | 95.4 | 0 |  | 1258
| Total | [5 empty] | 2516.4 | 7 Poles
1 | Materials Cost |  |  |  | 0 |  |  | 2 Skeleton
2 | Labour Charges |  |  |  | 2516.4
3 | Special Locality Allowance @ 30% on labour charges on Sl. No. b above |  |  |  | 754.92
4 | Head load charges(if applicable) |  |  |  | 0
5 | Total Labour Charges=2+3+4 |  |  |  | 3271.32
6 | Break Down Charges at 25% on labour for speedy restoration of power on Sl. No. 5 as above. (To be incorporated after competentapproval). |  | In case of admissibility of 6/7/8 any one of the charges is admissible on 5 |  | 0
7 | Goods and Service Tax @ 18% on Total labour charges |  |  |  | 588.8376
10 | Contribution towards employees provident fund charge @ 13.00% & ESI @ 4.75% on Total labour charges (b and c) |  |  |  | 580.6593
11 | **Transportation cost from stores to site (2% on material Sl No: a) |  |  |  | 0
12 | % *Contingencies @ 2% on Total material & labour |  |  |  | 65.4264
13 | ESCOM Establishment cost @ 20% on labour charges as applicable (This is a “Notional Amount” and not to be collected from the agencies nor payable to any |  |  |  | 654.264
14 | Statutory charges as per actual (Inspectorate charges, civic body charges etc.,) |  |  |  | 0
15 | Compensation cost for tree cutting etc., as per approved norms |  |  |  | 0
16 | Any other charges if applicable |  |  |  | 0
17 | Total Cost of Estimate in Rs. |  |  |  | 5160.5073
Materials to be returned to store
SNo | Material | Unit | Qty | Rate | Amount | Labour | Total Labour Amount
1 | 9MTR RCC Pole | Nos | 0 | Skeleton-Scrap returnable- 25kG/Pole |  |  |  | 0 | 114 | 0
2 | 8Mtr RCC/PSC /PCC Poles | No.s | 3 | PSC broken- pole- returnable as in releases status
3 | DP Structure -without Pole | Set | 0 | Released Good
4 | Cross arm | Nos | 0 | Scrap returnable- 3.5kG/X-arm |  |  |  | 0 | 76 | 0
Assistant Executive Engineer, | [5 empty] | Assistant Engineer Ele
O&M Sub-Division | [5 empty] | O&M Section
Bilikere | [5 empty] | Bilikere

## B (hidden)
CHAMUNDESHWARI ELECTRICITY SUPPLY CORPORATION LTD,.
O&M BILIKERE SECTION
Estimate No:JKMR/2019-20/ |  |  |  | Date:
Estimate for replacement of 8M PSC Broken poles due to Rain and Wind: 07-05-2022 in Mudalakoppalu Village_Kempegowda TC (141215-63kVA), Halebeedu Panchayath in Bilikere Section & Bilikere Sub-Division.
Part B : Errection of 1X25KVA Transformer Center
Sl. No | Particulars | Unit | Qty | Rate | Amount | L/C Rate | L/C Amount
|  |  |  | Rs. Ps. | Rs. Ps. | Rs. Ps. | Rs. Ps.
1 | Errection of 1X25 KVA 11KV/440V, 3Ph, 50Hz as Per CDS-24, Double pole using 9mtr Long RCC Pole DP Structure with 4-Star Rated Transformer | Set | 1 | 123151 | 123151 | 12579 | 12579
2 | Alkathene Tube | Coil | 1 | 458 | 458 | 0 | 0
| Total Cost |  |  |  | 123609 |  | 12579
1 | Materials Cost |  |  |  | 123609
2 | Labour Charges |  |  |  | 12579
3 | Special Locality Allowance @ 30% on labour charges on Sl. No. b above |  |  |  | 3773.7
4 | Head load charges(if applicable) |  |  |  | 0
5 | Total Labour Charges |  |  |  | 16352.7
6 | ESCOM Establishment cost @ 20% on labour charges as applicable (This is a “Notional Amount” and not to be collected from the agencies nor payable to any |  |  |  | 3270.54
7 | Goods and Service Tax @ 18% on Total labour charges |  |  |  | 2943.486
8 | Contribution towards employees provident fund charge @ 13.00% & ESI @ 4.75% on Total labour charges (b and c) |  |  |  | 2902.6042
9 | **Transportation cost from stores to site (2% on material Sl No: a) |  |  |  | 2472.18
10 | % *Contingencies @ 2% on Total material & labour |  |  |  | 2799.234
11 | Watch and ward Cost @ 1% on material cost |  |  |  | 0
12 | Insurance cost agains theft & accident @ 1% on material cost |  |  |  | 0
13 | Performance guarantee and loss of interest on margin money for BG @ 2.5% of the value of BG |  |  |  | 0
14 | Statutory charges as per actual (Inspectorate charges, civic body charges etc.,)= (3100/DTC) |  |  |  | 1000
15 | Compensation cost for tree cutting etc., as per approved norms |  |  |  | 2714.6 |  |  | Statutory charges as per actual (Inspectorate charges, civic body charges etc.,)
16 | Total Cost of Estimate in Rs. |  |  |  | 158064 |  |  | 10748.2109 | 168812.2109 | 63000 | 63000 | 100000 | 100000
| Asst. Executive Engineer (Elec.), |  |  |  |  | Asst Engineer(Elec.),
| O&M Sub-Division |  |  |  |  | O&M Section
| Bilikere |  |  |  |  | Bilikere

## C (hidden)
CHAMUNDESHWARI ELECTRICITY SUPPLY CORPORATION LTD,.
O&M BILIKERE SECTION
Estimate No:JKMR |  |  |  | Date:
Estimate for APS of 15HP for commercial pupose/Flour mill in favor or Sri. K Chandregowda S/o Lt. Kempegowda @ Chikkabeechanahalli Hundi, Bilikere Section & Bilikere Sub-Division.
Part-C Extension of LT Lines
Sl. No | Particulars | Unit | Qty | Rate | Amount | L/C Rate | L/C Amount
|  |  |  | Rs. Ps. | Rs. Ps. | Rs. Ps. | Rs. Ps.
1 | 8 mtr Long RCC Pole | No | 1 | 4706 | 4706 | 932 | 932
2 | 8 mtr long PSC Pole | No | 0 | 3054 | 0 | 932 | 0
3 | Spiral Earth Electrode | No.s | 1 | 165 | 165 | 61 | 61
4 | 4 Pin X - arm-RCC Pole | Set | 1 | 272 | 272 | 106 | 106
5 | 4 Pin X - arm-PSC Pole | Set | 0 | 266 | 0 | 106 | 0
6 | 1.1kV Pin Insulator with GI Pin | No | 0 | 48 | 0 |  | 0
7 | No 8 Strain Insulator | No | 8 | 16 | 128 |  | 0
8 | Guy Set | Set | 1 | 830 | 830 | 390 | 390
9 | Guy Concrete with Boulders, Mud & Sand | No.s | 1 |  |  | 174 | 174
10 | Weasel ACSR Conductor | Kms. | 0.0406 | 21552 | 875.0112 | 2104 | 85.4224
11 | Conductor Accessorries @ 3% | L/s |  |  | 26.2503
[5 empty] | 7002.2615 |  | 1748.4224
1 | Materials Cost |  |  |  | 7002.2615
2 | Labour Charges |  |  |  | 1748.4224
3 | Special Locality Allowance @ 30% on labour charges on Sl. No. b above |  |  |  | 524.5267
4 | Head load charges(if applicable) |  |  |  | 0
5 | Total Labour Charges |  |  |  | 2272.9491
6 | ESCOM Establishment cost @ 20% on labour charges as applicable (This is a “Notional Amount” and not to be collected from the agencies nor payable to any |  |  |  | 454.5898
7 | Goods and Service Tax @ 18% on Total labour charges |  |  |  | 409.1308
8 | Contribution towards employees provident fund charge @ 13.00% & ESI @ 4.75% on Total labour charges (b and c) |  |  |  | 403.4485
9 | **Transportation cost from stores to site (2% on material Sl No: a) |  |  |  | 140.0452
10 | % *Contingencies @ 2% on Total material & labour |  |  |  | 185.5042
11 | Watch and ward Cost @ 1% on material cost |  |  |  | 0
12 | Insurance cost agains theft & accident @ 1% on material cost |  |  |  | 0
13 | Performance guarantee and loss of interest on margin money for BG @ 2.5% of the value of BG |  |  |  | 0
14 | Statutory charges as per actual (Inspectorate charges, civic body charges etc.,)= (500/Kms) |  |  |  | 500
15 | Compensation cost for tree cutting etc., as per approved norms |  |  |  | 0.52501 |  |  | Statutory charges as per actual (Inspectorate charges, civic body charges etc.,)
16 | Total Cost of Estimate in Rs. |  |  |  | 11368 |  |  | 0 | 11368 | 63000 | 63000 | 100000 | 100000
| Asst. Executive Engineer (Elec.), |  |  |  |  | Asst Engineer(Elec.),
| O&M Sub-Division |  |  |  |  | O&M Section
| Bilikere |  |  |  |  | Bilikere

## Abstract (hidden)
CHAMUNDESHWARI ELECTRICITY SUPPLY CORPORATION LTD,.
O&M BILIKERE SECTION
Estimate No:JKMR/2019-20/ |  |  | Date:
Estimate for replacement of 8M PSC Broken poles due to Rain and Wind: 07-05-2022 in Mudalakoppalu Village_Kempegowda TC (141215-63kVA), Halebeedu Panchayath in Bilikere Section & Bilikere Sub-Division.
SL No | Particulars | Estimate Cost
A | Extenstion of HT line | #REF!
B | DTC Cost | 158064
C | Extenstion of HT line | #REF!
D | De-commissioning Portion | 0
#REF!
| Asst. Executive Engineer (Elec.), |  |  | Asst Engineer(Elec.),
| O&M Sub-Division |  |  | O&M Section
| Bilikere |  |  | Bilikere

## Sheet1 (hidden)
Inventory Sheet for Estimate | [14 empty] | REQUIRED |  | DATE:
| PSC |  | RCC |  | PIN | DISC | X-ARM | T SUPP | SPECIAL | SPIRAL | GL | GUY | SPAN | 2/4/RABBIT | RAISERS | POLE | REMARKS
Poles | 9 | 8/7.5 | 9 | 8/7.5 | [11 empty] | R/P