## sheet
CHAMUNDESHWARI ELECTRICITY SUPPLY CORPORATION LIMITED
Estimate No:SO/AMT/2022-23/ |  |  |  |  | Date :
Estimate for APS to Domestic Lighting Installation in favour Sri P M Abdul Latheef s/o P A Mohammad Kondangeri Village and Post, Comes under O&M Section Ammathi, Virajpet Sub Division.
Part : Extension of LT line |  |  |  | Self execution
Sl No | PARTICULARS | UNIT | QTY | RATE | AMOUNT | LABOUR CHARGES
[6 empty] | RATE | AMOUNT
1 | Rcc pole 9 mtr long | Nos | 2 | 7153 | 14306 | 1341 | 2682
2 | Psc pole 9mtr long | Nos | 1 | 4276 | 4276 | 1341 | 1341
3 | Rcc pole 8 mtr long | Nos | 0 | 5306 | 0 | 1072 | 0
4 | Psc pole 8mtr long stud | Nos | 1 | 3578 | 3578 | 1072 | 1072
5 | 11KV Sp 3-pin X-arm complete | Set | 0 | 668 | 0 | 210 | 0
6 | 4 Pin X-arm complete | Set | 4 | 439 | 1756 | 112 | 448
7 | 2 Pin X-arm complete | Set | 0 | 274 | 0 | 112 | 0
8 | 11 KV Pin Insulator | Nos | 0 | 221 | 0 | 0 | 0
9 | No.8 Srain Insulator | Nos | 6 | 25 | 150 | 0 | 0
10 | 1.1KV Pin insulator | Nos | 5 | 65 | 325 | 0 | 0
11 | Rabbit conductor | Kms | 0.2436 | 61515 | 14985.054 | 3299 | 803.6364
| Conductor accessories @ 3% |  |  |  | 449.5516 | 0
12 | Guy sets complete | Set | 1 | 1209 | 1209 | 448 | 448
13 | Spiral earth eletrode | Nos | 0 | 248 | 0 | 70 | 0
14 | Telephone/Road guarding | Mtrs | 0 | 5451 | 0 | 1462 | 0
16 | Loading and unloading of 9Mtrs poles | Nos | 3 | 0 | 0 | 106 | 318
17 | Loading and unloading of 8 Mtrs poles | Nos | 1 | 0 | 0 | 79 | 79
18 | Misc & unforeseen |  |  |  | 65.3944 |  | 8.3636
| TOTAL |  |  |  | 41100 |  | 7200
19 | Labour charges (a) Casual |  |  |  | 7200
| © MZ Charges @45% |  |  |  | 3240
20 | Head loading of poles(for above 25 Mtrs) |  |  |  | 0
21 | Contingencies @ 2% on Material +Labour cost |  |  |  | 1030.8
22 | Employees cost @20% on Labour cost |  |  |  | 2088
23 | Statutory charges as per actuals(Road cutting, civic body charges etc.) |  |  |  | 0
24 | Electrical Inspectorate charges as per acuals |  |  |  | 200
25 | Compensation cost for tree cutting etc. as per approved norms. |  |  |  | 0
| Total |  |  |  | 54858.8
CERTIFICTE:
Certified that I have personally Inspected the spot and prepared this estimate in a most economical and safe way executing the work.
Report:
This Estimate amounting to Rs 54859 /- Only has been prepared for
Estimate for APS to Domestic Lighting Installation in favour Sri P M Abdul Latheef s/o P A Mohammad Kondangeri Village and Post, Comes under O&M Section Ammathi, Virajpet Sub Division.
In this estimate following proposals have been made.
● Extend of LT 3 wire line for the distance of 0.040 from the existing Line by Using 9 Mtrs RCC/PSC poles shown in Sketch.
●Guysets, Stud poles and guardings are proposed wherever it is found essential.
* This load comes on 100 KV Coffee mill Kondangeri DTC, DTC Code No 524962 having a connected load of ……... lighting load. The transformer can takes up this load safely.
This work shall be carried out under Self Execution Scheme.
All the necessary provision has been made in this estimate hence the estimate may kindly be sanctioned early.
INDEX
| 40 mtr | 40 mtr
Ex 63 KVA
Ex LT 4 wire Line
Stud Pole
Pro Installation
Ex 8 M/9M PCC/RCC Poles
Pro Guy Set
Ex S ph 4 wire LT line
Pro Three Phase 4 wire LT line
Proposed 9 Mtrs PSC pole
Proposed 9 Mtrs RCC pole
Junior Engineer(EL)
O&M I Secion Ammathi
Junior Engineer(EL)
O&M I Secion,Ammathi
Existing HT Line and LT 2 wire
Propsed extend of LT 3 Rabbit wire