## HG
CHAMUNDESHWARI ELECTRICITY SUPPLY CORPORATION LIMITED
O&M Sub-Division, Bilikere
Estimate No. 2022-23/JKMRDOLO-01/07-07-2022
cescerp.com/ Auto Generate Estimate Number:
Estimate for Maintenance of transfomer centres in O&M- Bilikere Section & Bilikere sub-division.
SL.No | Particulars | Unit | Item Code | Qty | Material Cost |  | Labour cost
[5 empty] | Rate | Amount | Rate | Amount
1 | DOLO Cut Out | Set | 302011 | 7 | 5672 | 39704 | 178 | 1246
2 | Alkathene Tube | Coil | 821900 | 7 | 504 | 3528
| TOTAL |  |  |  |  | 43232 |  | 1246
1 | Material Cost |  |  |  |  | 43232 |  |  |  |  | 0 | 3100 | -3100
2 | Labour Charges |  |  |  |  | 1246 | [5 empty] | 903 | -4003
3 | Special Locality Allowance @ 30% on labour charges on Sl. No. 2 |  |  |  |  | 373.8 | [5 empty] | 806 | -4809
4 | Total Labour Charges 2+3 |  |  |  |  | 1619.8
5 | ESCOM Establishment cost @ 20% on labour charges as applicable |  |  |  |  | 249.2
6 | Goods and Service Tax @ 18% on Total labour charges |  |  |  |  | 291.564
7 | Contribution towards employees provident fund charge @ 13.00% & ESI @ 4.00% on Total labour charges (b and c) |  |  |  |  | 275.366
8 | Transportation cost from stores to site (2% on material Sl No: a) |  |  |  |  | 864.64
9 | Contingencies @ 2% on Total material & labour |  |  |  |  | 889.56
10 | Any Other Charges if applicable (Amount to match up with the estimate in cescerp.com) |  |  |  |  | 0 |  |  | 494.7 | 203.136
| Total Cost of Estimate in Rs. |  |  |  |  | 47423 |  |  | 48875.33 | 1452.33
Report:This estimate amounting to Rs. 47423.00 is prepared for Maintenance of transfomer centres in O&M- Bilikere Section & Bilikere sub-division. These above materials are necessary for day to day use, Emergency works & maintenance of Transformer centres in the section, Due to ageing and Mech/Elec stress on DOLO units are oftenly victim for wind and rain. to avoid the unnecessary failure of Transformer and to avoid interruption to entire 11kv lines DOLOs are necessary. On the light of the above fact, estimate may kindly be sanctioned at the earliest.
CERTIFICATE:- Certified that I have personally visited the spot and prepared this estimate using current schedule of rates in the most economical and safe way of executing the work.
[9 empty] | kva | 100 | 63 | 25
[9 empty] | kw | 84 | 52.92 | 21
| Assistant Executive Engineer( Ele) |  |  |  |  | Assistant. Engineer (Ele) |  |  | Loading | 126 | 79.38 | 31.5
| O&M Sub-Division, |  |  |  |  | O & M Section, |  |  | Individual Phase Lo | 42 | 26.46 | 10.5
| CESC, Bilikere |  |  |  |  | CESC, Bilikere |  |  |  | 4.902 | 4.902 | 4.902
[10 empty] | 205.8824 | 129.7059 | 51.4706
[10 empty] | 137.2549 | 86.4706 | 34.3137
[10 empty] | 123.5294 | 77.8235 | 30.8824

## BOL
CHAMUNDESHWARI ELECTRICITY SUPPLY CORPORATION LIMITED
O&M Sub-Division, Bilikere
Estimate No. 2022-23/BMDOLO-01/07-07-2022
cescerp.com/ Auto Generate Estimate Number:
Estimate for Maintenance of transfomer centres in O&M- BOLANAHALLI Section & Bilikere sub-division.
SL.No | Particulars | Unit | Item Code | Qty | Material Cost |  | Labour cost
[5 empty] | Rate | Amount | Rate | Amount
1 | DOLO Cut Out | Set | 302011 | 7 | 5672 | 39704 | 178 | 1246
2 | Alkathene Tube | Coil | 821900 | 7 | 504 | 3528
| TOTAL |  |  |  |  | 43232 |  | 1246
1 | Material Cost |  |  |  |  | 43232 |  |  |  |  | 0 | 3100 | -3100
2 | Labour Charges |  |  |  |  | 1246 | [5 empty] | 903 | -4003
3 | Special Locality Allowance @ 30% on labour charges on Sl. No. 2 |  |  |  |  | 373.8 | [5 empty] | 806 | -4809
4 | Total Labour Charges 2+3 |  |  |  |  | 1619.8
5 | ESCOM Establishment cost @ 20% on labour charges as applicable |  |  |  |  | 249.2
6 | Goods and Service Tax @ 18% on Total labour charges |  |  |  |  | 291.564
7 | Contribution towards employees provident fund charge @ 13.00% & ESI @ 4.00% on Total labour charges (b and c) |  |  |  |  | 275.366
8 | Transportation cost from stores to site (2% on material Sl No: a) |  |  |  |  | 864.64
9 | Contingencies @ 2% on Total material & labour |  |  |  |  | 889.56
10 | Any Other Charges if applicable (Amount to match up with the estimate in cescerp.com) |  |  |  |  | 0 |  |  | 494.7 | 203.136
| Total Cost of Estimate in Rs. |  |  |  |  | 47423 |  |  | 48875.33 | 1452.33
Report:This estimate amounting to Rs. 47423.00 is prepared for Maintenance of transfomer centres in O&M- BOLANAHALLI Section & Bilikere sub-division. These above materials are necessary for day to day use, Emergency works & maintenance of Transformer centres in the section, Due to ageing and Mech/Elec stress on DOLO units are oftenly victim for wind and rain. to avoid the unnecessary failure of Transformer and to avoid interruption to entire 11kv lines DOLOs are necessary. On the light of the above fact, estimate may kindly be sanctioned at the earliest.
CERTIFICATE:- Certified that I have personally visited the spot and prepared this estimate using current schedule of rates in the most economical and safe way of executing the work.
[9 empty] | kva | 100 | 63 | 25
[9 empty] | kw | 84 | 52.92 | 21
| Assistant Executive Engineer( Ele) |  |  |  |  | Assistant. Engineer (Ele) |  |  | Loading | 126 | 79.38 | 31.5
| O&M Sub-Division, |  |  |  |  | O & M Section, |  |  | Individual Phase Lo | 42 | 26.46 | 10.5
| CESC, Bilikere |  |  |  |  | CESC, BOLANAHALLI |  |  |  | 4.902 | 4.902 | 4.902
[10 empty] | 205.8824 | 129.7059 | 51.4706
[10 empty] | 137.2549 | 86.4706 | 34.3137
[10 empty] | 123.5294 | 77.8235 | 30.8824