CHAMUNDESHWARI ELECTRICITY SUPPLY CORPORATION

 LIMITED

 (A Govt.of Karnataka Undertaking)

 STATION FEASIBILITY

|  |
| --- |
| 1. **Name of the MUSS : 66/33/11KV Ponnampet**

1. **Capacity of MUSS : 2\*12.5 MVA-66/11KV**

 **1\*8MVA-66/11 KV** **3. Peak Load : 14.0MW** **4. Name of the Feeder : F1Nalluru** **5. Size of the feeder Conductor : 2 ACSR** **6. Peak Load : 60A** **7. C.T. Ratio : 150/1** **8. H.T. Voltage Regulation : 7.52%** **9. Capacity of Proposed TC : 25KVA** **10. Connected Load : 4045 KVA** **11. No. of Bank : Two Nos.** **Section Officer** **O & M Section Asst Executive Engineer(EL** |