CHAMUNDESHWARI ELECTRICITY SUPPLY CORPORATION

LIMITED

(A Govt.of Karnataka Undertaking)

STATION FEASIBILITY

|  |
| --- |
| 1. **Name of the MUSS : 66/33/11KV Ponnampet**      1. **Capacity of MUSS : 2\*12.5 MVA-66/11KV**   **1\*8MVA-66/11 KV**  **3. Peak Load : 14.0MW**  **4. Name of the Feeder : F1Nalluru**  **5. Size of the feeder Conductor : 2 ACSR**  **6. Peak Load : 60A**  **7. C.T. Ratio : 150/1**  **8. H.T. Voltage Regulation : 7.52%**  **9. Capacity of Proposed TC : 25KVA**  **10. Connected Load : 4045 KVA**  **11. No. of Bank : Two Nos.**    **Section Officer**  **O & M Section Asst Executive Engineer(EL** |