## Sheet1
CHAMUNDESHWARI ELECTRICITY SUPPLY CORPORATION LIMITED
Estimate No.ae/rama/01 Dated :
Estimate for Replacement of broken LT PSC pole by using RCC pole, due strom wind & rain on date 27/08/2022 at Yuvaraja collage road in Ramavilasa section central zone sub-division mysore.
Sl.No. | Name of the Materials Etc. | Unit | Quntity | Material cost |  | Labour charges
|  |  |  | Rate | Amount | Rate | Amount
1 | RCC pole 8mts long | Nos. | 3 | 5306 | 15918 | 1072 | 3216
| Guy Set Complete with No. 8 Strain Insulator & Concreting materials | set | 2 | 1179 | 2358 | 448 | 896
2 | Releasing & Stringing of 1.1 kV grade Aerial Bunched 3 Core cable of XLPE insulation of size (3x95) (Phase Conductor) + (1x70) (Insulated Messenger Neutral) + (1x16Street Light Control) | km | 0.8 |  | 25839X0.8X1.9 |  | 39275.28
4 | Loading & un loading of pole | Nos. | 3 | 0 | 0 | 79 | 237
5 | Releasing & refixing of crossarms | Nos. | 3 |  | 3x122x1.9 |  | 695.4
6 | Releasing & refixing of servicemain | LS | 2 |  | 2x0.9x67 |  | 120.6 | s
7 | Releasing of 8m psc pole | Nos. | 3 |  | 3x1072x0.9 |  | 2894.4
8 | strightening of slanted RCC pole | Nos. | 5 |  | 5x0.75x1072 |  | 4020
9 | Mis material |  |  |  | 190.39 |  | 54
10 | Total material cost |  |  |  | 18466.39 |  | 51408.68
11 | Total Labour Charges |  |  |  | 51408.68
12 | Break down charges at 25% on labour for speedy restoration of power supply |  |  |  | 12852.17
13 | ESCOM Establishment cost @ 20% on labour charges |  |  |  | 5140.868
14 | GST @ 18 % on Total labour charges. |  |  |  | 9253.5624
15 | Transportation cost from stores to site 2% on material cost |  |  |  | 369.3278
16 | Service charge towards ESI& PF17.75% on labour charges |  |  |  | 9125.0407
17 | Contingencies at 2% on total cost |  |  |  | 1939.863
Total |  |  |  |  | 108555.9019
Certificate:
Certified that I have personally visited the spot and prepared this estimate by using Current SR rates
for safe and economic way of execution of work.
REPORTS:-This estimate amount Rs108556.00 has been prepared for Replacement of broken LT pole due strom wind & rain on date 27/08/2022 at Yuvaraja collage road in Ramavilasa section central zone sub-division mysore.
In this estimate here it is proposed for replacement of broke LT at yuvaraja collage road due to strom wind & rain on date 27/08/2022.Three nos of LT pole were broken to replace this broken poles & releasing & restringing of AB cable & associated materials as marked on the sketch ,this estimate may be prepared.All the required necessary materials are made in this estimate.This broken pole comes on 250kva Madu fast food transformer.All the required necessary materials are made in this estimate this estimate may be sanctioned early.
Assistant Engineer (El),
| Siddartha unit |  |  | Assistant Executive Engineer (El),
| CESC,Mysore. |  |  | Central zone sub-division | CESC,Mysore.